## product_20240807
no. | corporation | vendor | protocol | product_code | product_name | device_type | uniform_type
1 | AMiT | AMiT spol. s r.o. Praha | Modbus/TCP | AMiNi4DW2 - NOS166 - DbNET |  | PLC | PLC
2 | Eaton | Ulusoy Elektrik | Modbus/TCP | UE-RTU32 | UE-RTU32-MB | RTU | RTU
3 | ENTES | ENTES AS | Modbus/TCP | 23000102 | POWER FACTOR CONTROLLER | Power Meter | Power Meter
4 | ENTES | ENTES AS | Modbus/TCP | 23100118 | POWER FACTOR CONTROLLER | Power Meter | Power Meter
5 | HMS | HMS | Modbus/TCP | Anybus-CC Modbus-TCP (2-Port) |  | Connection Interface | Communication Module
6 | Keyence | Keyence Corporation | Ethernet/IP | 105 | KV-NC1EP | Communications Adapter | Communication Module
7 | Keyence | Keyence Corporation | Ethernet/IP | 107 | KV-7500 | Communications Adapter | Communication Module
8 | Moxa | Moxa, Inc. | Ethernet/IP | 1024 | MOXA MGate EIP3170 Gateway | Communications Adapter | Communication Module
9 | Omron | Omron Corporation | Ethernet/IP | 11 | CJ1W-EIP21 | Communications Adapter | Communication Module
10 | Omron | Omron Corporation | Ethernet/IP | 13 | CJ2B-EIP21 | Communications Adapter | Communication Module
11 | Omron | Omron Corporation | Ethernet/IP | 23 | CJ2M-EIP21 | Communications Adapter | Communication Module
12 | Omron | Omron Corporation | Ethernet/IP | 1658 | NA5-Series | HMI | HMI
13 | Omron | Omron Corporation | Ethernet/IP | 1664 | NJ101 | PLC | PLC
14 | PIEU | PEWEU | Modbus/TCP | FPWEBD | FP-WebServer | PLC | PLC
15 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 17 | PanelView-Plus | HMI | HMI
16 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 19 | 1747-L551 C/11 - DC 2.80 | PLC | PLC
17 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 23 | PLC-5/40E E/H - DC 2.53 | PLC | PLC
18 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 40 | PowerFlex 40 1P 240V .50HP | AC Drive | AC Drive
19 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 45 | PanelView Plus_6 700 | HMI | HMI
20 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 47 | PanelView Plus_6 1000 | HMI | HMI
21 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 58 | 1756-ENBT/A | Communications Adapter | Communication Module
22 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA A/4.00 | PLC | PLC
23 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA A/5.00 | PLC | PLC
24 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA B/10.00 | PLC | PLC
25 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA B/11.00 | PLC | PLC
26 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA B/13.00 | PLC | PLC
27 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA B/14.00 | PLC | PLC
28 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA B/15.00 | PLC | PLC
29 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA B/16.00 | PLC | PLC
30 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA B/21.07 | PLC | PLC
31 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA C/21.02 | PLC | PLC
32 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA C/21.06 | PLC | PLC
33 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWA C/21.07 | PLC | PLC
34 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWAA A/5.00 | PLC | PLC
35 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWAA B/11.00 | PLC | PLC
36 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWAA B/13.00 | PLC | PLC
37 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWAA B/15.00 | PLC | PLC
38 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWAA C/21.02 | PLC | PLC
39 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32AWAA C/21.07 | PLC | PLC
40 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWA A/7.00 | PLC | PLC
41 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWA B/10.00 | PLC | PLC
42 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWA B/11.00 | PLC | PLC
43 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWA B/13.00 | PLC | PLC
44 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWA B/14.00 | PLC | PLC
45 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWA B/15.00 | PLC | PLC
46 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWA B/16.00 | PLC | PLC
47 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWA C/21.02 | PLC | PLC
48 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWA C/21.06 | PLC | PLC
49 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWA C/21.07 | PLC | PLC
50 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWAA A/3.00 | PLC | PLC
51 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWAA B/10.00 | PLC | PLC
52 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWAA B/11.00 | PLC | PLC
53 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWAA B/13.00 | PLC | PLC
54 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWAA B/14.00 | PLC | PLC
55 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWAA B/15.00 | PLC | PLC
56 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWAA B/15.04 | PLC | PLC
57 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWAA B/16.00 | PLC | PLC
58 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWAA C/21.02 | PLC | PLC
59 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWAA C/21.06 | PLC | PLC
60 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BWAA C/21.07 | PLC | PLC
61 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXB A/5.00 | PLC | PLC
62 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXB B/10.00 | PLC | PLC
63 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXB B/11.00 | PLC | PLC
64 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXB B/14.00 | PLC | PLC
65 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXB B/15.00 | PLC | PLC
66 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXB C/21.02 | PLC | PLC
67 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXBA A/5.00 | PLC | PLC
68 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXBA B/10.00 | PLC | PLC
69 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXBA B/11.00 | PLC | PLC
70 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXBA B/13.00 | PLC | PLC
71 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXBA B/14.00 | PLC | PLC
72 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXBA B/15.00 | PLC | PLC
73 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXBA B/21.07 | PLC | PLC
74 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXBA C/21.02 | PLC | PLC
75 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1766-L32BXBA C/21.07 | PLC | PLC
76 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 90 | 1794-AENT/B | Communications Adapter | Communication Module
77 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 99 | 1761-NET-ENI/D | Communications Adapter | Communication Module
78 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 106 | 1769-L30ER/A LOGIX5330ER | PLC | PLC
79 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 107 | 1769-L33ER/A LOGIX5333ER | PLC | PLC
80 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 108 | 1734-AENT/B Ethernet Adapter | Communications Adapter | Communication Module
81 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 108 | 1769-L36ERM/A LOGIX5336ERM | PLC | PLC
82 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 110 | 1769-L33ERM/A LOGIX5333ERM | PLC | PLC
83 | Rockwell | Rockwell Software, Inc. | Ethernet/IP | 115 | DESKTOP-B5NTIVE | Communications Adapter | Communication Module
84 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 120 | 1769-L35E Ethernet Port | Communications Adapter | Communication Module
85 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 141 | 2080-LC50-24QWB | PLC | PLC
86 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 149 | 1769-L24ER-QB1B/A LOGIX5324ER | PLC | PLC
87 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 149 | 1769-L24ER-QB1B/B LOGIX5324ER | PLC | PLC
88 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 150 | 1769-L24ER-QBFC1B/A LOGIX5324ER | PLC | PLC
89 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 151 | 1768-ENBT/A | Communications Adapter | Communication Module
90 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 151 | 1769-L27ERM-QxC1B/A LOGIX5327ERM | PLC | PLC
91 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 152 | 1769-L19ER-BB1B/A LOGIX5319ER | PLC | PLC
92 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 153 | 1769-L16ER/A LOGIX5316ER | PLC | PLC
93 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 153 | 1769-L16ER/B LOGIX5316ER | PLC | PLC
94 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 154 | 1769-L18ER/A LOGIX5318ER | PLC | PLC
95 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 154 | 1769-L18ER/B LOGIX5318ER | PLC | PLC
96 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 158 | 1769-L32E Ethernet Port | Communications Adapter | Communication Module
97 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 166 | 1756-EN2T/C | Communications Adapter | Communication Module
98 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 166 | 1756-EN2T/D | Communications Adapter | Communication Module
99 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 176 | 1747-L551/C C/10 - DC 3.46 | PLC | PLC
100 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 176 | 1747-L551/C C/11 - DC 3.46 | PLC | PLC
101 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 176 | 1747-L551/C C/13 - DC 3.54 | PLC | PLC
102 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 176 | 1769-L30ERMS/A LOGIX5370SAFETY | PLC | PLC
103 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 177 | 1408-EM3A-ENT, Series B | Communications Adapter | Communication Module
104 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 177 | 1747-L552/C C/11 - DC 3.46 | PLC | PLC
105 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 177 | 1747-L552/C C/13 - DC 3.54 | PLC | PLC
106 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 178 | 1747-L553/C C/11 - DC 3.46 | PLC | PLC
107 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 178 | 1769-L36ERMS/B LOGIX5370SAFETY | PLC | PLC
108 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 180 | 2080-LC20-20QWB | PLC | PLC
109 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16AWA B/00.00 | PLC | PLC
110 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16AWA B/11.00 | PLC | PLC
111 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16AWA B/12.00 | PLC | PLC
112 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16AWA B/14.00 | PLC | PLC
113 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16AWA B/16.00 | PLC | PLC
114 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16AWA B/9.00 | PLC | PLC
115 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16BBB B/11.00 | PLC | PLC
116 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16BBB B/12.00 | PLC | PLC
117 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16BBB B/14.00 | PLC | PLC
118 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16BBB B/16.00 | PLC | PLC
119 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16BBB B/9.00 | PLC | PLC
120 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16BWA B/11.00 | PLC | PLC
121 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16BWA B/12.00 | PLC | PLC
122 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16BWA B/14.00 | PLC | PLC
123 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16BWA B/15.02 | PLC | PLC
124 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16BWA B/16.00 | PLC | PLC
125 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16BWA B/9.00 | PLC | PLC
126 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16DWD B/11.00 | PLC | PLC
127 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16DWD B/12.00 | PLC | PLC
128 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16DWD B/14.00 | PLC | PLC
129 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16DWD B/16.00 | PLC | PLC
130 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 185 | 1763-L16DWD B/9.00 | PLC | PLC
131 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 190 | 1769-L23E-QB1 Ethernet Port | Communications Adapter | Communication Module
132 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 200 | 1756-EN2TR/B | Communications Adapter | Communication Module
133 | Rockwell | Rockwell Automation/Allen-Bradley | Ethernet/IP | 217 | 5069-L320ER/A | PLC | PLC
134 | Schneider | Schneider Electric | Ethernet/IP | 2057 | BMEP581020 | PLC | PLC
135 | Schneider | Merlin Gerin | Modbus/TCP | (EAN13)0000000000000 | Sepam serie 40 | Protection Relay | Protection Relay
136 | Schneider | Schneider Electric | Modbus/TCP | (EAN13)3303430596820 | Sepam serie 40 | Protection Relay | Protection Relay
137 | Schneider | Schneider Electric | Modbus/TCP | (EAN13)3303430597308 | Sepam serie 80 | Protection Relay | Protection Relay
138 | Schneider | Schneider Electric | Modbus/TCP | (EAN13)3303430597674 | Sepam serie 48 | Protection Relay | Protection Relay
139 | Schneider | Schneider Electric | Modbus/TCP | (EAN13)3303430597803 | Sepam serie 40 | Protection Relay | Protection Relay
140 | Schneider | Schneider Electric SAS | Modbus/TCP | 140 NOE 771 01 |  | Network Module | Communication Module
141 | Schneider | Schneider Electric | Modbus/TCP | 171 CBU 98090 |  | Processor | PLC
142 | Schneider | Schneider Electric | Modbus/TCP | 171 CBU 98091 |  | Processor | PLC
143 | Schneider | Schneider Electric | Modbus/TCP | A9MEM3455 |  | Power & Energy Meter | Power Meter
144 | Schneider | Square-D | Modbus/TCP | BCPMA042D |  | Energy Meter | Power Meter
145 | Schneider | Schneider Electric | Modbus/TCP | BME H58 4040 |  | PLC | PLC
146 | Schneider | Schneider Electric | Modbus/TCP | BME P58 1020 |  | PLC | PLC
147 | Schneider | Schneider Electric | Modbus/TCP | BMX NOE 0100 | Mid Range NOE | Network module | Communication Module
148 | Schneider | Schneider Electric | Modbus/TCP | BMX NOE 0100 |  | Network module | Communication Module
149 | Schneider | Schneider Electric | Modbus/TCP | BMX NOE 0110 |  | Network module | Communication Module
150 | Schneider | Schneider Electric | Modbus/TCP | BMX NOR 0200 |  | Network module | Communication Module
151 | Schneider | Schneider Electric | Modbus/TCP | BMX P34 1000 |  | PLC | PLC
152 | Schneider | Schneider Electric | Modbus/TCP | BMX P34 2000 |  | PLC | PLC
153 | Schneider | Schneider Electric | Modbus/TCP | BMX P34 2020 |  | PLC | PLC
154 | Schneider | TELEMECANIQUE | Modbus/TCP | BMX P34 2030 |  | Processor Module | PLC
155 | Schneider | Schneider Electric | Modbus/TCP | BMX P34 20302 |  | PLC | PLC
156 | Schneider | Schneider Electric | Modbus/TCP | HMIGTO3510 | Magelis | HMI | HMI
157 | Schneider | Schneider Electric | Modbus/TCP | HMIGTO4310 | Magelis | HMI | HMI
158 | Schneider | Schneider Electric | Modbus/TCP | HMIGTO5310/5315 | Magelis | HMI | HMI
159 | Schneider | Schneider Electric | Modbus/TCP | HMIS5T | Magelis | HMI | HMI
160 | Schneider | Schneider Electric | Modbus/TCP | HMISTU655 | Magelis | HMI | HMI
161 | Schneider | Schneider Electric | Modbus/TCP | ION7400 | PowerLogic | Power Quality Meter | Power Meter
162 | Schneider | Schneider Electric | Modbus/TCP | METSEPM3250 |  | Power Meter | Power Meter
163 | Schneider | Schneider Electric | Modbus/TCP | NF3000 |  | Controller | PLC
164 | Schneider | Schneider Electric | Modbus/TCP | PM2130 V3 |  | Power & Energy Meter | Power Meter
165 | Schneider | Schneider Electric | Modbus/TCP | PM2230 V2 |  | Power & Energy Meter | Power Meter
166 | Schneider | Schneider Electric | Modbus/TCP | PM5110 |  | Power Meter | Power Meter
167 | Schneider | Schneider Electric | Modbus/TCP | PM5111 |  | Power Meter | Power Meter
168 | Schneider | Schneider Electric | Modbus/TCP | PM5330 |  | Power Meter | Power Meter
169 | Schneider | Schneider Electric | Modbus/TCP | PM5560 |  | Power Meter | Power Meter
170 | Schneider | Schneider Electric | Modbus/TCP | PM5561 |  | Power Meter | Power Meter
171 | Schneider | Schneider Electric | Modbus/TCP | PM750 |  | Power Meter | Power Meter
172 | Schneider | Schneider Electric | Modbus/TCP | PM8000 | PowerLogic | Power Meter | Power Meter
173 | Schneider | Schneider Electric | Modbus/TCP | STB NIP 2212 |  | Network module | Communication Module
174 | Schneider | Schneider Electric | Modbus/TCP | TM168B23 |  | PLC | PLC
175 | Schneider | Schneider Electric | Modbus/TCP | TM200CE24R |  | PLC | PLC
176 | Schneider | Schneider Electric | Modbus/TCP | TM221C24T |  | PLC | PLC
177 | Schneider | Schneider Electric | Modbus/TCP | TM221CE16R |  | PLC | PLC
178 | Schneider | Schneider Electric | Modbus/TCP | TM221CE16T |  | PLC | PLC
179 | Schneider | Schneider Electric | Modbus/TCP | TM221CE24R |  | PLC | PLC
180 | Schneider | Schneider Electric | Modbus/TCP | TM221CE24T |  | PLC | PLC
181 | Schneider | Schneider Electric | Modbus/TCP | TM221CE40R |  | PLC | PLC
182 | Schneider | Schneider Electric | Modbus/TCP | TM221CE40T |  | PLC | PLC
183 | Schneider | Schneider Electric | Modbus/TCP | TM221M16R |  | PLC | PLC
184 | Schneider | Schneider Electric | Modbus/TCP | TM221ME16R |  | PLC | PLC
185 | Schneider | Schneider Electric | Modbus/TCP | TM221ME16T |  | PLC | PLC
186 | Schneider | Schneider Electric | Modbus/TCP | TM221ME32TK |  | PLC | PLC
187 | Schneider | Schneider Electric | Modbus/TCP | TM238LFDC24DTS0 |  | PLC | PLC
188 | Schneider | Schneider Electric | Modbus/TCP | TM241CE24R |  | PLC | PLC
189 | Schneider | Schneider Electric | Modbus/TCP | TM241CE24T_U |  | PLC | PLC
190 | Schneider | Schneider Electric | Modbus/TCP | TM241CE40R |  | PLC | PLC
191 | Schneider | Schneider Electric | Modbus/TCP | TM241CE40T_U |  | PLC | PLC
192 | Schneider | Schneider Electric | Modbus/TCP | TM241CEC24T_U |  | PLC | PLC
193 | Schneider | Schneider Electric | Modbus/TCP | TM251MESE |  | PLC | PLC
194 | Schneider | Schneider Electric | Modbus/TCP | TM258LF42DT |  | PLC | PLC
195 | Schneider | Schneider Electric | Modbus/TCP | TM258LF66DT4L |  | PLC | PLC
196 | Schneider | Schneider Electric | Modbus/TCP | TRV00210 |  | ULP/Modbus SL Communication Interface Module | Communication Module
197 | Schneider | Schneider Electric SAS | Modbus/TCP | TSXETY4103 |  | Network Module | Communication Module
198 | Schneider | Schneider Electric SAS | Modbus/TCP | TSXETY5103 |  | EtherNet TCP/IP module | Communication Module
199 | Schneider | TELEMECANIQUE | Modbus/TCP | TWDLCAA16DRF | TWIDO | PLC | PLC
200 | Schneider | TELEMECANIQUE | Modbus/TCP | TWDLCAA24DRF | TWIDO | PLC | PLC
201 | Schneider | TELEMECANIQUE | Modbus/TCP | TWDLCAE40DRF | TWIDO | PLC | PLC
202 | Schneider | TELEMECANIQUE | Modbus/TCP | TWDLMDA20D-K | TWIDO | PLC | PLC
203 | Schneider | TELEMECANIQUE | Modbus/TCP | TWDLMDA20DRT | TWIDO | PLC | PLC
204 | Schneider | TELEMECANIQUE | Modbus/TCP | TWDLMDA40D-K | TWIDO | PLC | PLC
205 | Schneider | Schneider Electric | Modbus/TCP | XBTGT5330 | Magelis | HMI | HMI
206 | SICES | SICES s.r.l. | Modbus/TCP | DST4601/PX |  | Genset controller | PLC
207 | Yokogawa | Yokogawa Electric Corporation | Ethernet/IP | 5 | MW100 | Data Acquisition Unit | Data Logger
208 | Yokogawa | Yokogawa Electric Corporation | Ethernet/IP | 6 | DX1000/2000 | Data Acquisition System | Data Logger
209 | Siemens | Siemens | S7comm | 6ES7 151-7AA20-0AB0 | 6ES7 151-7AA20-0AB0 | PLC | PLC
210 | Siemens | Siemens | S7comm | 6ES7 151-8AB01-0AB0 | 6ES7 151-8AB01-0AB0 | PLC | PLC
211 | Siemens | Siemens | S7comm | 6ES7 151-8FB01-0AB0 | 6ES7 151-8FB01-0AB0 | PLC | PLC
212 | Siemens | Siemens | S7comm | 6ES7 211-1AE31-0XB0 | 6ES7 211-1AE31-0XB0 | PLC | PLC
213 | Siemens | Siemens | S7comm | 6ES7 211-1AE40-0XB0 | 6ES7 211-1AE40-0XB0 | PLC | PLC
214 | Siemens | Siemens | S7comm | 6ES7 211-1BE31-0XB0 | 6ES7 211-1BE31-0XB0 | PLC | PLC
215 | Siemens | Siemens | S7comm | 6ES7 211-1BE40-0XB0 | 6ES7 211-1BE40-0XB0 | PLC | PLC
216 | Siemens | Siemens | S7comm | 6ES7 211-1HE40-0XB0 | 6ES7 211-1HE40-0XB0 | PLC | PLC
217 | Siemens | Siemens | S7comm | 6ES7 212-1AD30-0XB0 | 6ES7 212-1AD30-0XB0 | PLC | PLC
218 | Siemens | Siemens | S7comm | 6ES7 212-1AE31-0XB0 | 6ES7 212-1AE31-0XB0 | PLC | PLC
219 | Siemens | Siemens | S7comm | 6ES7 212-1AE40-0XB0 | 6ES7 212-1AE40-0XB0 | PLC | PLC
220 | Siemens | Siemens | S7comm | 6ES7 212-1BD30-0XB0 | 6ES7 212-1BD30-0XB0 | PLC | PLC
221 | Siemens | Siemens | S7comm | 6ES7 212-1BE31-0XB0 | 6ES7 212-1BE31-0XB0 | PLC | PLC
222 | Siemens | Siemens | S7comm | 6ES7 212-1BE40-0XB0 | 6ES7 212-1BE40-0XB0 | PLC | PLC
223 | Siemens | Siemens | S7comm | 6ES7 212-1HD30-0XB0 | 6ES7 212-1HD30-0XB0 | PLC | PLC
224 | Siemens | Siemens | S7comm | 6ES7 212-1HE31-0XB0 | 6ES7 212-1HE31-0XB0 | PLC | PLC
225 | Siemens | Siemens | S7comm | 6ES7 212-1HE40-0XB0 | 6ES7 212-1HE40-0XB0 | PLC | PLC
226 | Siemens | Siemens | S7comm | 6ES7 214-1AE30-0XB0 | 6ES7 214-1AE30-0XB0 | PLC | PLC
227 | Siemens | Siemens | S7comm | 6ES7 214-1AG31-0XB0 | 6ES7 214-1AG31-0XB0 | PLC | PLC
228 | Siemens | Siemens | S7comm | 6ES7 214-1AG40-0XB0 | 6ES7 214-1AG40-0XB0 | PLC | PLC
229 | Siemens | Siemens | S7comm | 6ES7 214-1BE30-0XB0 | 6ES7 214-1BE30-0XB0 | PLC | PLC
230 | Siemens | Siemens | S7comm | 6ES7 214-1BG31-0XB0 | 6ES7 214-1BG31-0XB0 | PLC | PLC
231 | Siemens | Siemens | S7comm | 6ES7 214-1BG40-0XB0 | 6ES7 214-1BG40-0XB0 | PLC | PLC
232 | Siemens | Siemens | S7comm | 6ES7 214-1HE30-0XB0 | 6ES7 214-1HE30-0XB0 | PLC | PLC
233 | Siemens | Siemens | S7comm | 6ES7 214-1HG31-0XB0 | 6ES7 214-1HG31-0XB0 | PLC | PLC
234 | Siemens | Siemens | S7comm | 6ES7 214-1HG40-0XB0 | 6ES7 214-1HG40-0XB0 | PLC | PLC
235 | Siemens | Siemens | S7comm | 6ES7 215-1AG31-0XB0 | 6ES7 215-1AG31-0XB0 | PLC | PLC
236 | Siemens | Siemens | S7comm | 6ES7 215-1AG40-0XB0 | 6ES7 215-1AG40-0XB0 | PLC | PLC
237 | Siemens | Siemens | S7comm | 6ES7 215-1AM40-0XB0 | 6ES7 215-1AM40-0XB0 | PLC | PLC
238 | Siemens | Siemens | S7comm | 6ES7 215-1HG31-0XB0 | 6ES7 215-1HG31-0XB0 | PLC | PLC
239 | Siemens | Siemens | S7comm | 6ES7 217-1AG40-0XB0 | 6ES7 217-1AG40-0XB0 | PLC | PLC
240 | Siemens | Siemens | S7comm | 6ES7 312-1AD10-0AB0 | 6ES7 312-1AD10-0AB0 | PLC | PLC
241 | Siemens | Siemens | S7comm | 6ES7 312-5BE03-0AB0 | 6ES7 312-5BE03-0AB0 | PLC | PLC
242 | Siemens | Siemens | S7comm | 6ES7 313-5BF03-0AB0 | 6ES7 313-5BF03-0AB0 | PLC | PLC
243 | Siemens | Siemens | S7comm | 6ES7 313-6CG04-0AB0 | 6ES7 313-6CG04-0AB0 | PLC | PLC
244 | Siemens | Siemens | S7comm | 6ES7 314-6CG03-0AB0 | 6ES7 314-6CG03-0AB0 | PLC | PLC
245 | Siemens | Siemens | S7comm | 6ES7 314-6EH04 | 6ES7 314-6EH04 | PLC | PLC
246 | Siemens | Siemens | S7comm | 6ES7 314-6EH04-0AB0 | 6ES7 314-6EH04-0AB0 | PLC | PLC
247 | Siemens | Siemens | S7comm | 6ES7 315-2AF03-0AB0 | 6ES7 315-2AF03-0AB0 | PLC | PLC
248 | Siemens | Siemens | S7comm | 6ES7 315-2AG10-0AB0 | 6ES7 315-2AG10-0AB0 | PLC | PLC
249 | Siemens | Siemens | S7comm | 6ES7 315-2AH14-0AB0 | 6ES7 315-2AH14-0AB0 | PLC | PLC
250 | Siemens | Siemens | S7comm | 6ES7 315-2EH13-0AB0 | 6ES7 315-2EH13-0AB0 | PLC | PLC
251 | Siemens | Siemens | S7comm | 6ES7 315-2EH14-0AB0 | 6ES7 315-2EH14-0AB0 | PLC | PLC
252 | Siemens | Siemens | S7comm | 6ES7 315-2FJ14-0AB0 | 6ES7 315-2FJ14-0AB0 | PLC | PLC
253 | Siemens | Siemens | S7comm | 6ES7 317-2AJ10-0AB0 | 6ES7 317-2AJ10-0AB0 | PLC | PLC
254 | Siemens | Siemens | S7comm | 6ES7 317-2AK14-0AB0 | 6ES7 317-2AK14-0AB0 | PLC | PLC
255 | Siemens | Siemens | S7comm | 6ES7 317-2EK14-0AB0 | 6ES7 317-2EK14-0AB0 | PLC | PLC
256 | Siemens | Siemens | S7comm | 6ES7 317-2FK14-0AB0 | 6ES7 317-2FK14-0AB0 | PLC | PLC
257 | Siemens | Siemens | S7comm | 6ES7 318-2AJ00-0AB0 | 6ES7 318-2AJ00-0AB0 | PLC | PLC
258 | Siemens | Siemens | S7comm | 6ES7 318-3EL01-0AB0 | 6ES7 318-3EL01-0AB0 | PLC | PLC
259 | Siemens | Siemens | S7comm | 6ES7 412-2EK06-0AB0 | 6ES7 412-2EK06-0AB0 | PLC | PLC
260 | Siemens | Siemens | S7comm | 6ES7 412-2EK07-0AB0 | 6ES7 412-2EK07-0AB0 | PLC | PLC
261 | Siemens | Siemens | S7comm | 6ES7 414-2XK05-0AB0 | 6ES7 414-2XK05-0AB0 | PLC | PLC
262 | Siemens | Siemens | S7comm | 6ES7 611-4SB00-0YB7 | 6ES7 611-4SB00-0YB7 | PLC | PLC
263 | Siemens | Siemens | S7comm | 6ES7 671-5EF01-0YA0 | 6ES7 671-5EF01-0YA0 | PLC | PLC
264 | Siemens | Siemens | S7comm | 6GK7 343-1CX10-0XE0 | 6GK7 343-1CX10-0XE0 | Communications processor | Communication Module
265 | Siemens | Siemens | S7comm | 6GK7 343-1EX11-0XE0 | 6GK7 343-1EX11-0XE0 | Communications processor | Communication Module
266 | Siemens | Siemens | S7comm | 6GK7 343-1EX20-0XE0 | 6GK7 343-1EX20-0XE0 | Communications processor | Communication Module
267 | Siemens | Siemens | S7comm | 6GK7 343-1EX21-0XE0 | 6GK7 343-1EX21-0XE0 | Communications processor | Communication Module
268 | Siemens | Siemens | S7comm | 6GK7 343-1EX30-0XE0 | 6GK7 343-1EX30-0XE0 | Communications processor | Communication Module
269 | Siemens | Siemens | S7comm | 6GK7 443-1EX11-0XE0 | 6GK7 443-1EX11-0XE0 | Communications processor | Communication Module
270 | Yaskawa | VIPA | S7comm | VIPA 343-1EX71 | VIPA 343-1EX71 | Communication Module | Communication Module